Determining the Concentration 
of a Solution:  Beer’s Law

The primary objective of this experiment is to determine the concentration of an unknown nickel (II) sulfate solution. To accomplish this, you will use a Colorimeter or a Spectrometer to pass light through the solution, striking a detector on the opposite side. The wavelength of light used should be one that is absorbed by the solution. The NiSO4 solution used in this experiment has a deep green color, so Colorimeter users will be instructed to use the red LED. Spectrometer users will determine an appropriate wavelength based on the absorbance spectrum of the solution. The light striking the detector is reported as absorbance or percent transmittance. A higher concentration of the colored solution absorbs more light (and transmits less) than a solution of lower concentration.

Figure 1

You are to prepare five nickel sulfate solutions of known concentration (standard solutions). Each is transferred to a small, rectangular cuvette that is placed into the Colorimeter or Spectrometer. The amount of light that penetrates the solution and strikes the detector is used to compute the absorbance of each solution. When a graph of absorbance vs. concentration is plotted for the standard solutions, a direct relationship should result, as shown in Figure 1. The direct relationship between absorbance and concentration for a solution is known as Beer’s law.

The concentration of an unknown NiSO4 solution is then determined by measuring its absorbance. By locating the absorbance of the unknown on the vertical axis of the graph, the corresponding concentration can be found on the horizontal axis (follow the arrows in Figure 1). The concentration of the unknown can also be found using the slope of the Beer’s law curve.

OBJECTIVES

In this experiment, you will

- Prepare NiSO4 standard solutions.

- Use a Colorimeter or Spectrometer to measure the absorbance value of each standard solution.

- Find the relationship between absorbance and concentration of a solution.

- Use the results of this experiment to determine the unknown concentration of another NiSO4 solution.

MATERIALS

| computer | 30 mL of 0.40 M NiSO4 |
| --- | --- |
| Vernier computer interface* | 5 mL of NiSO4 unknown solution |
| Logger Pro | two 10 mL pipets (or graduated cylinders) |
| Colorimeter or Spectrometer | pipet pump or pipet bulb |
| one cuvette | distilled water |
| five 20  150 mm test tubes | test tube rack |
| tissues (preferably lint-free) | two 100 mL beakers |
| stirring rod |  |

* No interface is required if using a Spectrometer

PROCEDURE

Both Spectrometer and Colorimeter Users

1.	Obtain and wear goggles! CAUTION: Be careful not to ingest any NiSO4 solution or spill any on your skin. Inform your teacher immediately in the event of an accident.

2.	Obtain a small container of 0.40 M NiSO4 stock solution from your teacher. Obtain at least 30 mL of distilled water in a beaker.

3.	Use four clean, dry, test tubes to create dilutions of NiSO4 solution from your stock. 10mL of total solution in each test tube will be enough to run the experiment.  Record amounts used and calculate concentrations of each dilution.  Thoroughly mix each solution with a stirring rod. Clean and dry the stirring rod between stirrings. Keep the remaining 0.40 M NiSO4 use in a fifth trial.

4.	Prepare a blank by filling a cuvette 3/4 full with distilled water. To correctly use cuvettes, remember:

- Wipe the outside of each cuvette with a lint-free tissue.

- Handle cuvettes only by the top edge of the ribbed sides.

- Dislodge any bubbles by gently tapping the cuvette on a hard surface.

- Always position the cuvette so the light passes through the clear sides.

Spectrometer Users Only (Colorimeter users proceed to the Colorimeter section)

5.	Use a USB cable to connect the Spectrometer to the computer. Choose New from the File menu.

6.	To calibrate the Spectrometer, place the blank cuvette into the cuvette slot of the Spectrometer, choose Calibrate ►Spectrometer from the Experiment menu. The calibration dialog box will display the message: “Waiting 60 seconds for lamp to warm up.” After 60 seconds, the message will change to “Warmup complete.” Click .

7.	Determine the optimal wavelength for creating this standard curve.

- Remove the blank cuvette, and place the 0.40 M standard into the cuvette slot.

- Click . The absorbance vs. wavelength spectrum will be displayed. Click .

- To set up the data collection mode and select a wavelength for analysis, click on the Configure Spectrometer Data Collection icon, .

- Click Abs vs. Concentration (under the Set Collection Mode).

- Click  (Clear).

- Locate an absorbance peak in the red region of the spectrum and click on that peak value to select its wavelength. Click .

- Proceed directly to Step 8.

Colorimeter Users Only

5.	Connect the Colorimeter to the computer interface. Prepare the computer for data collection by opening the file “11 Beer’s Law” from the Chemistry with Vernier folder of Logger Pro.

6.	Open the Colorimeter lid, insert the blank, and close the lid.

7.	To calibrate the Colorimeter, press the < or > button on the Colorimeter to select the wavelength of 635 nm (Red). Press the CAL button until the red LED begins to flash and then release the CAL button. When the LED stops flashing, the calibration is complete.

Both Spectrometer and Colorimeter Users

8.	You are now ready to collect absorbance data for the five standard solutions. Click . Using the solution in Test Tube 1, rinse the cuvette twice with ~1 mL amounts and then fill it 3/4 full. Wipe the outside with a tissue and place it in the device (Colorimeter or Spectrometer). Close the lid on the Colorimeter. Wait for the absorbance value displayed on the monitor to stabilize. Then click  type the concentration value in the edit box, and press the ENTER key. The data pair you just collected will now be plotted on the graph.

9.	Discard the cuvette contents as directed. Rinse the cuvette twice with the Test Tube 2 solution, and fill the cuvette 3/4 full. Wipe the outside and place it in the device. When the absorbance value stabilizes, click , type the concentration value in the edit box, and press the ENTER key.

10.	Repeat the Step 9 procedure to save and plot the absorbance and concentration values of the solutions with the remaining solutions until you have completed all 5 trials.  Wait until Step 13 to do the unknown. When you have finished with the fifth solution, click .

11.	In your Data and Calculations table, record the absorbance and concentration data pairs that are displayed in the table.

12.	Examine the graph of absorbance vs. concentration. To see if the curve represents a direct relationship between these two variables, click the Linear Fit button, . A best-fit linear regression line will be shown for your five data points. This line should pass near or through the data points and the origin of the graph. (Note: Another option is to choose Curve Fit from the Analyze menu, and then select Proportional. The Proportional fit has a y-intercept value equal to 0; therefore, this regression line will always pass through the origin of the graph).

13.	Obtain an unknown concentration of NiSO4 solution already in a cuvette from your teacher. Record the letter of the unknown in the Data and Calculations table. Do not open the cuvette.  You are simply getting a reading. Wipe the outside of the cuvette and place it in the device. Read the absorbance value displayed in the meter. (Important: The reading in the meter is live, so it is not necessary to click  to read the absorbance value.) When the displayed absorbance value stabilizes, record its value in Trial 6 of the Data and Calculations table.

14.	Discard the solutions as directed by your teacher. Proceed directly to Steps 1 and 2 of Processing the Data.

PROCESSING THE DATA

1.	Use the following method to determine the unknown concentration. With the linear regression curve still displayed on your graph, choose Interpolate from the Analyze menu. A vertical cursor now appears on the graph. The cursor’s concentration and absorbance coordinates are displayed in the floating box. Move the cursor along the regression line until the absorbance value is approximately the same as the absorbance value you recorded in Step 13. The corresponding concentration value is the concentration of the unknown solution, in mol/L.

2.	Print a graph of absorbance vs. concentration, with a regression line and interpolated unknown concentration displayed. To keep the interpolated concentration value displayed, move the cursor straight up the vertical cursor line until the tool bar is reached. Enter your name(s) and the number of copies of the graph you want.

TURN IN:

(Google Drive, 1 per group)

- Calculations required for the preparation of the dilutions including resulting concentrations

- Data table showing concentrations and absorbance values

- Linearized graph of absorbance vs. concentration

- Unknown Identification Letter

- Unknown Concentration determined by solving the algebraic equation of the line